## Sheet1
Fault 2021-11-02 15:30:21
| Fault Number | Building Trade | Trade Category | Type of Fault | Impact | Location | Cancel Status | Reported Date | Fault Acknowledged Date | Responded on Site Date | RA Conducted Date | Work Started Date | Work Completed Date | Other Trades Required Date | Cost Cap Exceed Date | Assistance Requested Date | Fault Reference | End User Priority | Incident Report | Remarks
| FID3392 | Mechanical | Lift / Crane Hoist - Passenger / Goods Lift | Other: CO5 lift 2nd level outside display blank | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-31 15:24:29 | 2021-10-31 15:49:15 | 2021-10-31 15:49:37 | 2021-10-31 15:50:04 | 2021-10-31 15:50:39 | 2021-10-31 17:05:57
| FID3391 | Building | Carpet | Other: Mat is dented upward | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-31 13:04:08 | 2021-10-31 14:26:51 | 2021-10-31 14:27:31 | 2021-10-31 14:29:44 | 2021-10-31 14:30:35 | 2021-10-31 14:31:32
| FID3389 | Building | Vehicle Barrier System | Bent | Affecting Public | Gardens By The Bay (South) > Carparks |  | 2021-10-31 09:18:13 | 2021-10-31 09:19:06 | 2021-10-31 12:49:21 | 2021-10-31 12:50:02 | 2021-10-31 12:50:50 | 2021-10-31 12:51:30
| FID3388 | Building | Vehicle Barrier System | Other: Barrier intercom triggered automatically | WIthin Building | Gardens By The Bay (South) > Service Tunnel |  | 2021-10-31 04:35:28 | 2021-10-31 04:45:18 | 2021-10-31 05:11:36 | 2021-10-31 05:12:07 | 2021-10-31 05:12:38 | 2021-10-31 05:20:53 | [6 empty] | ED office outside barrier intercom triggered automatically
| FID3387 | Building | Vehicle Barrier System | Other: intercom triggered automatically | WIthin Building | Gardens By The Bay (South) > Service Tunnel |  | 2021-10-31 03:35:00 | 2021-10-31 03:35:42 | 2021-10-31 03:36:32 | 2021-10-31 03:37:04 | 2021-10-31 03:37:44 | 2021-10-31 03:51:10 | [6 empty] | Barrier outside ED office intercom triggered automatically
| FID3386 | Building Security System | CCTV System | Other: Disconnected | Affecting Public | Gardens By The Bay (South) > Satay by the Garden |  | 2021-10-30 23:32:50 | 2021-10-30 23:33:40 | 2021-10-30 23:44:36 | 2021-10-30 23:45:07 | 2021-10-30 23:45:44 | 2021-10-30 23:58:12
| FID3385 | Plumbing & Sanitary | Bottle Trap | Leaking | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-30 20:29:02 | 2021-10-30 20:29:28 | 2021-10-30 21:57:17 | 2021-10-30 21:57:47 | 2021-10-30 21:58:16 | 2021-10-30 21:58:55
| FID3383 | Mechanical | Air Conditioning System | Too hot / Too cold | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 1 > Flower Field Hall |  | 2021-10-30 14:16:06 | 2021-10-30 14:16:28 | 2021-10-30 14:47:57 | 2021-10-30 14:48:31 | 2021-10-30 14:48:55 | 2021-10-30 14:53:56
| FID3382 | Building | Glass Door | Other: To put on sensor mode for 50 PAYM event | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 1 > Flower Field Hall |  | 2021-10-30 13:41:45 | 2021-10-30 13:42:19 | 2021-10-30 13:46:31 | 2021-10-30 13:47:01 | 2021-10-30 13:47:16 | 2021-10-30 13:48:13
| FID3380 | Building | Vehicle Barrier System | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > GBHQ |  | 2021-10-30 11:07:14 | 2021-10-30 11:08:56 | 2021-10-30 11:45:04 | 2021-10-30 11:47:11 | 2021-10-30 11:47:39 | 2021-10-30 11:49:30
| FID3378 | Building | Door Lock | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Canopy Hub > Level 3 > Visitors' Support Office(VSO) |  | 2021-10-30 09:41:31 | 2021-10-30 09:42:13 | 2021-10-30 11:03:03 | 2021-10-30 11:05:45 | 2021-10-30 11:06:20 | 2021-10-30 11:23:24
| FID3377 | Building Security System | CCTV System | Other: disconnected | Affecting Public | Gardens By The Bay (South) > Canopy Hub > Level 3 |  | 2021-10-30 08:47:18 | 2021-10-30 09:23:41 | 2021-10-30 11:01:53 | 2021-10-30 11:02:18 | 2021-10-30 11:02:25 | 2021-10-30 12:07:16
| FID3376 | Electrical | Socket | Other: BMG Server rack no power | Affecting Public | Gardens By The Bay (South) > Cloud Forest > Level 1 > Hub Server (Hub 39) |  | 2021-10-30 08:19:50 | 2021-10-30 08:21:08 | 2021-10-30 08:30:06 | 2021-10-30 08:32:29 | 2021-10-30 08:32:47 | 2021-10-30 11:57:58
| FID3375 | Building Security System | CCTV System | Other: Disconnected | Affecting Public | Gardens By The Bay (South) > Flower Dome > Level 3 > Flower Dome Entrance |  | 2021-10-30 08:17:14 | 2021-10-30 08:17:49 | 2021-10-30 08:30:45 | 2021-10-30 08:31:03 | 2021-10-30 08:31:22 | 2021-10-30 12:05:51
| FID3374 | Building | Vehicle Barrier System | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 |  | 2021-10-29 21:49:15 | 2021-10-29 21:51:21 | 2021-10-29 22:04:50 | 2021-10-29 22:05:47 | 2021-10-29 22:06:04 | 2021-10-29 22:10:51
| FID3373 | Building Security System | CCTV System | Other: Not working | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 |  | 2021-10-29 21:02:13 | 2021-10-29 21:02:53 | 2021-10-29 22:02:16 | 2021-10-29 22:04:54 | 2021-10-29 22:05:32 | 2021-10-29 22:06:55
| FID3372 | Electrical | Light Switches | Flickering / Blown | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-10-29 18:45:23 | 2021-10-29 18:46:47 | 2021-10-29 19:25:24 | 2021-10-29 19:25:43 | 2021-10-29 19:26:03 | 2021-10-29 19:27:02
| FID3370 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 1 > Flower Field Hall |  | 2021-10-29 15:10:57 | 2021-10-29 15:11:19 | 2021-10-29 15:11:39 | 2021-10-29 15:11:50 | 2021-10-29 15:12:03 | 2021-10-29 15:13:36
| FID3367 | Building | Door Lock | Other: To open CO5 door for BNLstaff | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-29 13:46:32 | 2021-10-29 13:47:05 | 2021-10-29 13:47:59 | 2021-10-29 13:48:27 | 2021-10-29 13:48:55 | 2021-10-29 13:57:48
| FID3365 | Office and Furniture | Cabinet/Wardrobe/Drawer & lockset | Cannot open / close | Localised to room | Gardens By The Bay (South) > GBHQ |  | 2021-10-29 12:53:01 | 2021-10-29 12:53:26 | 2021-10-29 13:06:58 | 2021-10-29 13:22:51 | 2021-10-29 13:23:21 | 2021-10-29 13:24:14
| FID3364 | Electrical | Lightning Protection System | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Flower Dome > Level 1 > Flower Field Hall |  | 2021-10-29 12:27:55 | 2021-10-29 12:29:04 | 2021-10-29 12:41:48 | 2021-10-29 12:42:15 | 2021-10-29 12:42:31 | 2021-10-29 12:49:54 |  |  |  |  | 1 |  | NA
| FID3360 | Building | Vehicle Barrier System | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > Arrival Area |  | 2021-10-29 10:46:04 | 2021-10-29 10:46:32 | 2021-10-29 12:29:31 | 2021-10-29 12:29:58 | 2021-10-29 12:30:31 | 2021-10-29 13:02:41
| FID3359 | Cleaning | Exterior | Other: To dispose dead bird | Localised to room | Gardens By The Bay (South) > Arrival Area > Level 1 > Arrival Gift Shop |  | 2021-10-29 09:44:06 | 2021-10-29 09:44:24 | 2021-10-29 10:26:32 | 2021-10-29 10:26:49 | 2021-10-29 10:27:05 | 2021-10-29 10:27:33
| FID3355 | Electrical | Electromagnetic Lock | Unserviceable | Localised to room | Gardens By The Bay (South) > Service Tunnel |  | 2021-10-29 09:12:21 | 2021-10-29 09:12:45 | 2021-10-29 09:29:33 | 2021-10-29 09:29:58 | 2021-10-29 10:30:43 | 2021-10-29 10:31:36
| FID3352 | Mechanical | Air Conditioning System | Unserviceable | Localised to room | Gardens By The Bay (South) > Arrival Area > Level 1 > Security Rest Room |  | 2021-10-29 08:36:57 | 2021-10-29 08:37:34 | 2021-10-29 09:26:49 | 2021-10-29 09:28:34 | 2021-10-29 09:28:55 | 2021-10-29 10:29:32
| FID3351 | Electrical | Socket | Tripped / Short-Circuit / Overloaded | WIthin Building | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-10-28 23:21:57 | 2021-10-28 23:22:32 | 2021-10-28 23:33:06 | 2021-10-28 23:37:19 | 2021-10-28 23:37:46 | 2021-10-28 23:45:58
| FID3347 | Building | Glass Door | Misaligned / dangling | Localised to room | Gardens By The Bay (South) > Active Garden > Level 1 |  | 2021-10-28 16:47:55 | 2021-10-28 16:48:29 | 2021-10-28 19:32:10 | 2021-10-28 19:33:11 | 2021-10-28 19:34:10 | 2021-10-28 19:35:25
| FID3345 | Mechanical | Smoke Detector | Other: FA Isolation | Localised to room | Gardens By The Bay (South) > Cloud Forest > Level 1 > Fire Command Centre (Ent 1) |  | 2021-10-28 14:06:37 | 2021-10-28 14:07:00 | 2021-10-28 15:18:22 | 2021-10-28 15:18:50 | 2021-10-28 15:19:17 | 2021-10-28 15:20:03
| FID3344 | Building | Vehicle Barrier System | Unable to open or close properly | Localised to room | Gardens By The Bay (South) > GBHQ |  | 2021-10-28 13:56:35 | 2021-10-28 13:57:01 | 2021-10-28 14:49:17 | 2021-10-28 14:49:44 | 2021-10-28 14:50:07 | 2021-10-28 15:17:28
| FID3342 | Mechanical | Rain Curtain | Tripped / Short-Circuit / Overloaded | More than 1 room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-10-28 11:30:34 | 2021-10-28 12:03:20 | 2021-10-28 12:03:47 | 2021-10-28 12:32:40 | 2021-10-28 12:35:35 | 2021-10-28 13:18:53
| FID3341 | Electrical | LED Lights | Flickering / Blown | Localised to room | Gardens By The Bay (South) > Active Garden > Level 2 > Fennel Cafe -Active Garden |  | 2021-10-28 11:01:38 | 2021-10-28 11:03:12 | 2021-10-28 12:05:08 | 2021-10-28 12:23:46 | 2021-10-28 12:24:05 | 2021-10-28 12:26:48
| FID3339 | Electrical | Junction Box | Other: Timer faulty/CD-OG-3 | Localised to room | Gardens By The Bay (South) > Silver Garden |  | 2021-10-28 09:33:06 | 2021-10-28 09:33:25 | 2021-10-28 10:01:39 | 2021-10-28 10:02:05 | 2021-10-28 10:02:27 | 2021-10-28 10:02:52
| FID3338 | Building | Floor | Other: Wet floor | Affecting Public | Gardens By The Bay (South) > Cloud Forest |  | 2021-10-28 09:04:40 | 2021-10-28 09:05:58 | 2021-10-28 09:06:26 | 2021-10-28 09:06:54 | 2021-10-28 09:07:22 | 2021-10-28 10:01:47
| FID3334 | Plumbing & Sanitary | Tap | No water | Localised to room | Gardens By The Bay (South) > Arrival Area |  | 2021-10-27 18:02:22 | 2021-10-27 18:09:52 | 2021-10-27 19:31:06 | 2021-10-27 19:31:30 | 2021-10-27 19:34:21 | 2021-10-27 19:36:12
| FID3333 | Building | Vehicle Barrier System | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > GBHQ |  | 2021-10-27 16:35:30 | 2021-10-27 16:36:17 | 2021-10-27 16:39:05 | 2021-10-27 16:39:46 | 2021-10-27 16:40:24 | 2021-10-27 16:43:54
| FID3332 | Building Security System | CCTV System | Cannot Open / Close / Operate / Defective | Affecting Public | Gardens By The Bay (South) > GBHQ |  | 2021-10-27 16:21:41 | 2021-10-27 16:22:40 | 2021-10-27 17:16:07 | 2021-10-27 17:16:45 | 2021-10-27 17:24:07 | 2021-10-27 17:25:42
| FID3330 | Building | Door Lock | Other: To open unlock using access card for LC contractor | Localised to room | Gardens By The Bay (South) > Active Garden |  | 2021-10-27 16:01:56 | 2021-10-27 16:02:33 | 2021-10-27 16:45:13 | 2021-10-27 16:47:42 | 2021-10-27 16:48:13 | 2021-10-27 16:50:23
| FID3326 | Plumbing & Sanitary | Tap | Other: Take picture of taps outside CO5 | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-27 15:05:22 | 2021-10-27 15:05:45 | 2021-10-27 16:25:23 | 2021-10-27 16:25:46 | 2021-10-27 16:26:12 | 2021-10-27 16:30:52
| FID3325 | Electrical | Light Switches | Other: Pool lighting is off | Affecting Public | Gardens By The Bay (South) > Cloud Forest |  | 2021-10-27 14:46:39 | 2021-10-27 14:47:14 | 2021-10-27 14:52:11 | 2021-10-27 14:53:10 | 2021-10-27 15:00:12 | 2021-10-27 17:00:28
| FID3321 | Mechanical | Roller Shutter | Misaligned / dangling | Localised to room | Gardens By The Bay (South) > Service Tunnel | approved | 2021-10-27 13:13:47 | 2021-10-27 13:14:13
| FID3319 | Building | Signage | Chipped / Cracked | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-27 12:59:08 | 2021-10-27 13:38:43 | 2021-10-27 14:43:47 | 2021-10-27 14:48:22 | 2021-10-27 14:49:20 | 2021-10-27 14:50:44
| FID3311 | Building | Door Lock | Other: To unlock LG1 & LG3 | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-27 11:29:55 | 2021-10-27 11:30:33 | 2021-10-27 12:30:07 | 2021-10-27 12:30:51 | 2021-10-27 12:31:32 | 2021-10-27 12:32:25
| FID3307 | Building | Glass Door | Other: To measure length & height of glass door | Affecting Public | Gardens By The Bay (South) > Flower Dome > Level 1 > Flower Field Hall |  | 2021-10-27 10:28:40 | 2021-10-27 10:29:41 | 2021-10-27 10:53:58 | 2021-10-27 10:54:32 | 2021-10-27 10:55:09 | 2021-10-27 10:59:00
| FID3296 | Mechanical | Roller Shutter | Unserviceable | Affecting Public | Gardens By The Bay (South) > Other Outdoor Area | approved | 2021-10-26 21:01:38
| FID3295 | Electrical | Lamp Post | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Silver Garden |  | 2021-10-26 19:13:27 | 2021-10-26 19:14:04 | 2021-10-26 19:22:52 | 2021-10-26 20:11:15 | 2021-10-26 20:13:11 | 2021-10-26 20:14:54
| FID3280 | Building | Vehicle Barrier System | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > GBHQ |  | 2021-10-26 09:49:39 | 2021-10-26 09:50:08 | 2021-10-26 10:50:50 | 2021-10-26 10:51:24 | 2021-10-26 10:51:57 | 2021-10-26 10:54:34
| FID3273 | Electrical | Light Fitting | Other: Light is faulty | More than 1 room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-10-25 17:04:42 | 2021-10-25 17:06:15 | 2021-10-25 17:09:38 | 2021-10-25 17:10:00 | 2021-10-25 17:10:20 | 2021-10-25 17:11:40 |  |  |  |  | 1 |  | Need to disconnet some growthe light
| FID3257 | Electrical | Light Fitting | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-25 10:38:35 | 2021-10-25 11:04:24 | 2021-10-25 11:04:45 | 2021-10-25 11:05:09 | 2021-10-25 13:04:07 | 2021-10-25 13:56:23 |  |  |  |  | 1
| FID3256 | Mechanical | Pump | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Serene Garden |  | 2021-10-25 10:28:58 | 2021-10-25 10:59:44 | 2021-10-25 11:00:15 | 2021-10-25 11:01:17 | 2021-10-25 11:01:47 | 2021-10-25 11:03:42 |  |  |  |  | 1
| FID3247 | Mechanical | Air Conditioning System | Leaking / Condensation | Localised to room | Gardens By The Bay (South) > Canopy Hub |  | 2021-10-25 09:07:08 | 2021-10-25 09:17:09 | 2021-10-25 09:17:33 | 2021-10-25 09:17:55 | 2021-10-25 09:18:19 | 2021-10-25 10:58:04 |  |  |  |  | 1
| FID3246 | Mechanical | Air Conditioning System | Other: One unit cooler leaking outside FF | Localised to room | Gardens By The Bay (South) > Floral Fantasy |  | 2021-10-25 08:59:28 | 2021-10-25 10:49:25 | 2021-10-25 10:52:17 | 2021-10-25 10:53:04 | 2021-10-25 10:53:26 | 2021-10-25 10:54:15 |  |  |  |  | 1
| FID3243 | Electrical | HTLV | Other: Need to replace switch room panel screw | Affecting Public | Gardens By The Bay (South) > Cloud Forest |  | 2021-10-24 14:48:39 | 2021-10-24 14:51:38 | 2021-10-24 14:51:55 | 2021-10-24 14:52:15 | 2021-10-24 14:52:34 | 2021-10-24 18:48:27
| FID3242 | Electrical | HTLV | Other: Need to replace switch room panel screw | Affecting Public | Gardens By The Bay (South) > Arrival Area |  | 2021-10-24 14:47:18 | 2021-10-24 14:53:04 | 2021-10-24 14:53:25 | 2021-10-24 14:53:44 | 2021-10-24 14:54:03 | 2021-10-24 18:49:54
| FID3238 | Plumbing & Sanitary | Water Pipe | Leaking | Affecting Public | Gardens By The Bay (South) > Active Garden |  | 2021-10-24 07:46:06 | 2021-10-24 07:46:31 | 2021-10-24 08:10:47 | 2021-10-24 08:11:08 | 2021-10-24 08:11:26 | 2021-10-24 08:13:50
| FID3236 | Building | Vehicle Barrier System | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Arrival Area |  | 2021-10-24 06:15:14 | 2021-10-24 06:15:43 | 2021-10-24 06:22:36 | 2021-10-24 06:23:15 | 2021-10-24 06:23:49 | 2021-10-24 08:46:03
| FID3235 | Electrical | Light Switches | Tripped / Short-Circuit / Overloaded | Localised to room | Gardens By The Bay (South) > Serene Garden |  | 2021-10-23 19:59:51 | 2021-10-23 20:00:26 | 2021-10-23 20:01:01 | 2021-10-23 20:01:30 | 2021-10-23 20:01:45 | 2021-10-23 20:02:41
| FID3233 | Building | Floor | Other: Tiles came off at Cafe Aster | Affecting Public | Gardens By The Bay (South) > Floral Fantasy |  | 2021-10-23 17:47:37 | 2021-10-23 17:49:09 | 2021-10-23 17:49:38 | 2021-10-23 18:05:01 | 2021-10-23 18:06:21 | 2021-10-23 18:07:37
| FID3231 | Electrical | Socket Outlet | Other: E1-1/OG-Box 5A timer faulty | Localised to room | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-10-23 13:34:26 | 2021-10-23 13:34:48 | 2021-10-23 14:08:32 | 2021-10-23 14:08:51 | 2021-10-23 14:09:18 | 2021-10-23 14:11:30
| FID3225 | Electrical | HTLV | Other: Screws faulty replacement for HT & LT rooms | Affecting Public | Gardens By The Bay (South) > Flower Dome > Level 1 > LT Switch Room |  | 2021-10-23 10:20:23 | 2021-10-23 10:20:42 | 2021-10-23 10:21:27 | 2021-10-23 10:21:47 | 2021-10-23 10:22:30 | 2021-10-23 13:07:55
| FID3223 | Building | Vehicle Barrier System | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Meadow |  | 2021-10-23 06:13:43 | 2021-10-23 06:17:24 | 2021-10-23 06:17:56 | 2021-10-23 06:18:42 | 2021-10-23 06:19:12 | 2021-10-23 06:28:57
| FID3222 | Electrical | Light Driver / Ballast | Flickering / Blown | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-23 05:47:23 | 2021-10-23 05:47:48 | 2021-10-23 05:53:11 | 2021-10-23 05:54:00 | 2021-10-23 05:55:02 | 2021-10-23 06:08:24
| FID3217 | Electrical | Light Fitting | Other: Spike lights need to fix back | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 |  | 2021-10-22 18:05:48 | 2021-10-22 18:06:09 | 2021-10-22 18:07:58 | 2021-10-22 18:08:37 | 2021-10-22 18:09:01 | 2021-10-22 18:35:47
| FID3216 | Building Security System | CCTV System | Other: To take video for cctv for ED Jeslyn | Affecting Public | Gardens By The Bay (South) > BMS Room |  | 2021-10-22 16:41:04 | 2021-10-22 16:41:25 | 2021-10-22 16:54:34 | 2021-10-22 16:54:55 | 2021-10-22 16:55:19 | 2021-10-22 18:08:32
| FID3215 | Electrical | HTLV | Other: Screws faulty replacement for HT & LT rooms | Affecting Public | Gardens By The Bay (South) > Energy Centre |  | 2021-10-22 16:30:32 | 2021-10-22 16:30:57 | 2021-10-22 18:07:25 | 2021-10-22 18:07:45 | 2021-10-22 18:08:05 | 2021-10-22 18:09:58
| FID3206 | Plumbing & Sanitary | Tap | Other: WT1 tap not working | Affecting Public | Gardens By The Bay (South) > Arrival Area |  | 2021-10-22 13:38:17 | 2021-10-22 13:38:35 | 2021-10-22 14:10:08 | 2021-10-22 14:10:33 | 2021-10-22 14:11:21 | 2021-10-22 14:15:45
| FID3193 | Electrical | Screen / Projector | Other: LCD screen not working at CO5 | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-21 17:32:11 | 2021-10-21 17:32:41 | 2021-10-21 19:54:07 | 2021-10-21 19:54:31 | 2021-10-21 19:55:02 | 2021-10-21 19:55:47
| FID3192 | Mechanical | Air Conditioning System | Too hot / Too cold | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-21 17:29:57 | 2021-10-21 17:30:57 | 2021-10-21 19:51:51 | 2021-10-21 19:52:19 | 2021-10-21 19:52:43 | 2021-10-21 19:53:35
| FID3190 | Plumbing & Sanitary | Flush Button | Other: Sensor not working | Affecting Public | Gardens By The Bay (South) > Bayfront |  | 2021-10-21 17:20:45 | 2021-10-21 17:21:14 | 2021-10-21 19:57:01 | 2021-10-21 19:57:31 | 2021-10-21 19:59:17 | 2021-10-21 20:00:13
| FID3189 | Electrical | Earthing | Other: Power trip unable to reset | Affecting Public | Gardens By The Bay (South) > Energy Centre |  | 2021-10-21 16:36:41 | 2021-10-21 16:37:10 | 2021-10-21 16:37:55 | 2021-10-21 16:38:19 | 2021-10-21 16:38:53 | 2021-10-21 17:56:43
| FID3184 | Building | Signage | Other: Signage for Orient Express damage | Affecting Public | Gardens By The Bay (South) > Other Outdoor Area |  | 2021-10-21 15:07:03 | 2021-10-21 15:07:38 | 2021-10-21 16:52:07 | 2021-10-21 16:52:47 | 2021-10-21 16:53:43 | 2021-10-21 16:56:09
| FID3181 | Plumbing & Sanitary | Bidet spray / Hose | Damaged / Loose / Cracked | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-21 14:04:47 | 2021-10-21 14:05:08 | 2021-10-21 14:33:32 | 2021-10-21 14:33:50 | 2021-10-21 14:33:56 | 2021-10-21 14:34:41
| FID3173 | Electrical | LED Lights | Other: Ceiling lights not lighted | Affecting Public | Gardens By The Bay (South) > Flower Dome > Level 1 |  | 2021-10-21 10:23:50 | 2021-10-21 10:24:11 | 2021-10-21 10:37:14 | 2021-10-21 11:00:17 | 2021-10-21 11:14:44 | 2021-10-21 11:16:02
| FID3171 | Electrical | LED Lights | Other: Gift shop not lighted up | Affecting Public | Gardens By The Bay (South) > Flower Dome > Level 1 |  | 2021-10-21 10:21:40 | 2021-10-21 10:22:04 | 2021-10-21 10:38:29 | 2021-10-21 10:40:52 | 2021-10-21 10:42:04 | 2021-10-21 10:52:14
| FID3167 | Electrical | Light Bulb | Other: Spike lights faulty | Affecting Public | Gardens By The Bay (South) > Silver Garden |  | 2021-10-21 09:41:23 | 2021-10-21 09:41:49 | 2021-10-21 10:12:54 | 2021-10-21 10:38:33 | 2021-10-21 10:53:23 | 2021-10-21 11:45:12
| FID3166 | Building | Floor | Other: Wooden plank flooring damage at Lift C top. | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-21 09:38:57 | 2021-10-21 09:50:05 | 2021-10-21 09:55:12 | 2021-10-21 10:22:54 | 2021-10-21 10:23:28 | 2021-10-21 10:24:56
| FID3161 | Electrical | Socket | Other: Not working | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-20 17:22:15 | 2021-10-20 17:22:35 | 2021-10-20 17:48:46 | 2021-10-20 17:49:20 | 2021-10-20 17:49:57 | 2021-10-20 17:52:09
| FID3160 | Electrical | Door Controller | Other: Door not able to open. Magnetic no power | Affecting Public | Gardens By The Bay (South) > Service Tunnel |  | 2021-10-20 15:17:48 | 2021-10-20 15:18:10 | 2021-10-20 15:36:42 | 2021-10-20 15:37:37 | 2021-10-20 15:38:35 | 2021-10-20 15:41:50
| FID3156 | Electrical | Fan | Other: Not working | Affecting Public | Gardens By The Bay (South) > Floral Fantasy |  | 2021-10-20 14:34:46 | 2021-10-20 14:35:36 | 2021-10-20 15:05:35 | 2021-10-20 15:06:33 | 2021-10-20 15:07:30 | 2021-10-20 15:11:14
| FID3155 | Plumbing & Sanitary | Tap | Other: Not working | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-20 12:45:55 | 2021-10-20 12:46:12 | 2021-10-20 14:23:09 | 2021-10-20 14:23:41 | 2021-10-20 14:24:06 | 2021-10-20 16:16:57
| FID3154 | Electrical | Light Bulb | Flickering / Blown | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-20 12:37:38 | 2021-10-20 12:37:56 | 2021-10-20 14:22:14 | 2021-10-20 14:22:33 | 2021-10-20 14:24:38 | 2021-10-20 16:19:01
| FID3153 | Building | Glass Door | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Flower Dome > Level 3 > Flower Dome Entrance |  | 2021-10-20 12:34:25 | 2021-10-20 12:34:51 | 2021-10-20 13:32:54 | 2021-10-20 13:33:24 | 2021-10-20 13:33:59 | 2021-10-20 13:36:01
| FID3152 | Plumbing & Sanitary | Tap | Other: Faulty | Affecting Public | Gardens By The Bay (South) > Arrival Area |  | 2021-10-20 12:22:36 | 2021-10-20 12:22:54 | 2021-10-20 14:20:07 | 2021-10-20 14:20:27 | 2021-10-20 14:20:44 | 2021-10-20 14:21:30
| FID3146 | Mechanical | Fire Alarm / Detection System | Other: Board spoiled | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-20 10:43:05 | 2021-10-20 10:49:29 | 2021-10-20 11:13:37 | 2021-10-20 11:13:59 | 2021-10-20 11:14:21 | 2021-10-20 11:15:14
| FID3139 | Electrical | Miniature Circuit Breaker | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 |  | 2021-10-20 05:41:10 | 2021-10-20 05:41:27 | 2021-10-20 05:44:44 | 2021-10-20 05:45:02 | 2021-10-20 05:45:52 | 2021-10-20 05:49:33 |  |  |  |  | 3
| FID3137 | Electrical | Light Fitting | Flickering / Blown | Affecting Public | Gardens By The Bay (South) > Cloud Forest |  | 2021-10-19 20:33:33 | 2021-10-19 20:34:01 | 2021-10-19 20:45:24 | 2021-10-19 20:47:12 | 2021-10-19 20:50:14 | 2021-10-19 20:51:49
| FID3136 | Electrical | Earth-leakage Circuit Breaker | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Carparks |  | 2021-10-19 19:35:01 | 2021-10-19 19:40:38 | 2021-10-19 19:52:12 | 2021-10-19 19:52:37 | 2021-10-19 19:53:26 | 2021-10-19 19:54:34
| FID3132 | Electrical | Miniature Circuit Breaker | Other: Power trip inside server room | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-19 13:48:28 | 2021-10-19 13:48:45 | 2021-10-19 13:48:58 | 2021-10-19 13:49:08 | 2021-10-19 13:50:43 | 2021-10-19 13:53:13
| FID3131 | Building Security System | CCTV System | Other: Cover is broken and cctv disconnected | Affecting Public | Gardens By The Bay (South) > Bayfront |  | 2021-10-19 11:48:22 | 2021-10-19 11:49:07 | 2021-10-19 12:41:18 | 2021-10-19 12:41:48 | 2021-10-19 12:42:05 | 2021-10-19 12:42:54
| FID3130 | Building | Signage | Other: Main entrance signage not tally with carpark system | Affecting Public | Gardens By The Bay (South) > GBHQ |  | 2021-10-19 11:16:53 | 2021-10-19 11:17:56 | 2021-10-19 12:12:28 | 2021-10-19 12:13:18 | 2021-10-19 12:13:58 | 2021-10-19 12:14:49
| FID3129 | Plumbing & Sanitary | Basin / sink | Choked | Affecting Public | Gardens By The Bay (South) > Service Tunnel |  | 2021-10-19 11:11:36 | 2021-10-19 11:11:52 | 2021-10-19 12:08:05 | 2021-10-19 12:08:46 | 2021-10-19 12:09:05 | 2021-10-19 12:40:03
| FID3127 | Building | Vehicle Barrier System | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > Carparks |  | 2021-10-19 10:42:06 | 2021-10-19 10:42:41 | 2021-10-19 10:43:25 | 2021-10-19 10:43:50 | 2021-10-19 10:44:17 | 2021-10-19 10:50:40
| FID3123 | Building | Floor | Missing | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-19 09:09:16 | 2021-10-19 09:09:48 | 2021-10-19 13:13:20 | 2021-10-19 14:06:25 | 2021-10-19 14:07:16 | 2021-10-19 14:13:52
| FID3112 | Plumbing & Sanitary | Urinal | Water flowing non-stop | Affecting Public | Gardens By The Bay (South) > GBHQ |  | 2021-10-18 10:46:36 | 2021-10-18 10:46:52 | 2021-10-18 11:04:34 | 2021-10-18 11:05:55 | 2021-10-18 11:08:30 | 2021-10-18 11:15:18
| FID3106 | Electrical | Cable and Trunking | Other: Wire came off for cctv | Affecting Public | Gardens By The Bay (South) > Bayfront |  | 2021-10-18 09:31:37 | 2021-10-18 09:33:54 | 2021-10-18 11:00:51 | 2021-10-18 11:01:16 | 2021-10-18 11:01:52 | 2021-10-18 11:03:07
| FID3101 | Plumbing & Sanitary | Bidet spray / Hose | Damaged / Loose / Cracked | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-16 17:14:46 | 2021-10-16 17:15:14 | 2021-10-16 17:26:41 | 2021-10-16 17:26:55 | 2021-10-16 17:27:32 | 2021-10-16 17:37:28
| FID3098 | Mechanical | Air Conditioning System | Other: Aircond not working at SB2 | Affecting Public | Gardens By The Bay (South) > GBHQ |  | 2021-10-15 16:16:42 | 2021-10-15 16:18:30 | 2021-10-15 16:36:58 | 2021-10-15 16:37:27 | 2021-10-15 16:37:55 | 2021-10-15 16:41:01
| FID3086 | Electrical | Miniature Circuit Breaker | Other: Power trip(no lights & no water) | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 > Security Rest Room |  | 2021-10-15 10:20:58 | 2021-10-15 10:25:33 | 2021-10-15 10:34:35 | 2021-10-15 10:35:48 | 2021-10-15 10:36:07 | 2021-10-15 10:37:20
| FID3080 | Mechanical | Air Conditioning System | Too hot / Too cold | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 > Services Room 1 |  | 2021-10-14 16:19:34 | 2021-10-14 16:20:03 | 2021-10-14 16:21:05 | 2021-10-14 16:21:24 | 2021-10-14 16:21:45 | 2021-10-14 16:22:52
| FID3050 | Electrical | Fan | Other: Fan & aircond all not working | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-13 11:52:43 | 2021-10-13 11:53:01 | 2021-10-13 13:41:32 | 2021-10-13 13:41:59 | 2021-10-13 13:43:22 | 2021-10-13 13:46:28
| FID3049 | Mechanical | Air Conditioning System | Too hot / Too cold | Affecting Public | Gardens By The Bay (South) > Arrival Area > Level 1 > Services Room 1 |  | 2021-10-13 11:38:20 | 2021-10-13 11:38:40 | 2021-10-13 13:37:20 | 2021-10-13 13:37:43 | 2021-10-13 13:38:04 | 2021-10-13 13:40:54
| FID3038 | Plumbing & Sanitary | Flush Button | Other: Sensor not working | Affecting Public | Gardens By The Bay (South) > Bayfront |  | 2021-10-12 15:39:45 | 2021-10-12 15:40:01 | 2021-10-12 19:27:56 | 2021-10-12 19:28:24 | 2021-10-12 19:28:38 | 2021-10-12 19:29:51
| FID3029 | Electrical | Screen / Projector | Other: Blank/Not working | Affecting Public | Gardens By The Bay (South) > Cloud Forest > Level 4 > Tree Top Walk Bridge |  | 2021-10-12 11:38:39 | 2021-10-12 11:39:15 | 2021-10-12 15:23:38 | 2021-10-12 15:24:12 | 2021-10-12 15:25:11 | 2021-10-12 15:28:53
| FID3026 | Electrical | Fan | Cracked / damaged | Affecting Public | Gardens By The Bay (South) > Arrival Area |  | 2021-10-12 11:21:10 | 2021-10-12 11:21:29 | 2021-10-12 15:30:41 | 2021-10-12 15:31:17 | 2021-10-12 15:31:54 | 2021-10-12 15:32:57
| FID3024 | Electrical | Card Reader | Other: EM lock drop | Affecting Public | Gardens By The Bay (South) > Floral Fantasy |  | 2021-10-12 10:50:32 | 2021-10-12 10:50:50 | 2021-10-12 19:24:56 | 2021-10-12 19:25:25 | 2021-10-12 19:26:02 | 2021-10-12 19:27:22
| FID3012 | Plumbing & Sanitary | Hand Dryer | Other: Not working | Affecting Public | Gardens By The Bay (South) > Flower Dome > Level 1 > Female Toilet (Beside Fennel Cafe) |  | 2021-10-11 17:52:42 | 2021-10-11 17:52:58 | 2021-10-11 21:19:57 | 2021-10-12 19:23:22 | 2021-10-12 19:23:37 | 2021-10-12 19:24:16
| FID3011 | Mechanical | Air Conditioning System | Too hot / Too cold | Affecting Public | Gardens By The Bay (South) > Flower Dome > Level 1 > Visitor Services, Attraction Ops, Ticketing (CD 78) |  | 2021-10-11 17:31:37 | 2021-10-11 17:32:00 | 2021-10-11 18:44:40 | 2021-10-11 18:45:00 | 2021-10-11 18:45:28 | 2021-10-11 18:47:20
| FID2990 | Building Security System | CCTV System | Other: SG50 camera not working | Affecting Public | Gardens By The Bay (South) > Carparks |  | 2021-10-11 09:07:52 | 2021-10-11 09:08:10 | 2021-10-11 20:40:41 | 2021-10-11 20:40:55 | 2021-10-11 20:41:02 | 2021-10-11 20:41:58
| FID2988 | Electrical | Socket | Tripped / Short-Circuit / Overloaded | Affecting Public | Gardens By The Bay (South) > Service Tunnel |  | 2021-10-10 14:03:28 | 2021-10-10 20:31:43 | 2021-10-10 20:32:08 | 2021-10-10 20:32:33 | 2021-10-10 20:32:56 | 2021-10-10 20:34:45
| FID2987 | Plumbing & Sanitary | Hand Dryer | Other: Female toilet hand dryer not working | Affecting Public | Gardens By The Bay (South) > Flower Dome |  | 2021-10-10 10:44:01 | 2021-10-10 20:28:52 | 2021-10-10 20:29:11 | 2021-10-10 20:29:25 | 2021-10-10 20:29:38 | 2021-10-10 20:30:46
| FID2986 | Plumbing & Sanitary | WC / Squatting Pedestal | Other: Cubicle choke male toilet | Affecting Public | Gardens By The Bay (South) > Bayfront |  | 2021-10-09 17:39:12 | 2021-10-09 17:39:30 | 2021-10-09 19:32:12 | 2021-10-09 19:32:44 | 2021-10-09 19:33:03 | 2021-10-09 19:36:43
| FID2985 | Plumbing & Sanitary | Flush Button | Other: Sensor not working | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-09 13:04:07 | 2021-10-09 13:04:25 | 2021-10-09 15:38:35 | 2021-10-09 15:39:00 | 2021-10-09 15:39:36 | 2021-10-09 15:56:49
| FID2982 | Building | Vehicle Barrier System | Other: Lorry hit barrier cause bent | WIthin Building | Gardens By The Bay (South) > Satay by the Garden |  | 2021-10-08 20:07:55 | 2021-10-08 20:08:33 | 2021-10-08 23:40:53 | 2021-10-08 23:41:22 | 2021-10-08 23:41:57 | 2021-10-08 23:45:13 |  |  |  |  | 2
| FID2981 | Building | Door Knob / Handle | Noisy | Localised to room | Gardens By The Bay (South) > BMS Room |  | 2021-10-08 20:03:37 | 2021-10-08 20:04:16 | 2021-10-08 20:06:30 | 2021-10-08 20:06:58 | 2021-10-08 20:07:31 | 2021-10-08 20:10:59 |  |  |  |  | 2
| FID2976 | Building | Vehicle Barrier System | Other: Meadow exit showing printer paper low | Localised to room | Gardens By The Bay (South) > Carparks |  | 2021-10-08 13:51:44 | 2021-10-08 14:18:30 | 2021-10-08 14:18:59 | 2021-10-08 20:02:30 | 2021-10-08 20:02:53 | 2021-10-08 20:05:23 |  |  |  |  | 1
| FID2975 | Electrical | Light Driver | Other: Inside CD Marathon road side 6 nos. zigzag light not lighted. Power Supply is working okay., | Localised to room | Gardens By The Bay (South) > Flower Dome |  | 2021-10-08 13:45:26 | 2021-10-08 14:13:28 | 2021-10-08 14:13:52 | 2021-10-08 14:14:12 | 2021-10-08 14:15:28 | 2021-10-08 14:16:02 |  |  |  |  | 1
| FID2973 | Building | Ceiling Board Access Panel | Chipped / Cracked | Localised to room | Gardens By The Bay (South) > Active Garden |  | 2021-10-08 13:39:16 | 2021-10-08 14:09:41 | 2021-10-08 14:10:09 | 2021-10-08 14:10:49 | 2021-10-08 14:11:24 | 2021-10-08 14:12:47 |  |  |  |  | 1
| FID2960 | Electrical | Exit light | Other: Exit lights & grow lights not lighted | Affecting Public | Gardens By The Bay (South) > Floral Fantasy |  | 2021-10-07 09:44:04 | 2021-10-07 09:44:23 | 2021-10-07 22:34:37 | 2021-10-07 22:58:11 | 2021-10-07 22:59:00 | 2021-10-07 23:01:27
| FID2958 | Mechanical | Lift / Crane Hoist - Passenger / Goods Lift | Other: Unable to open | Affecting Public | Gardens By The Bay (South) > Cloud Forest > Level 1 > CM-FL-L1 (Lift) |  | 2021-10-07 09:12:51 | 2021-10-07 09:13:17 | 2021-10-07 22:31:54 | 2021-10-07 23:04:22 | 2021-10-07 23:06:04 | 2021-10-07 23:12:34
| FID2949 | Mechanical | Lift / Crane Hoist - Passenger / Goods Lift | Noisy | Affecting Public | Gardens By The Bay (South) > Cloud Forest > Level 1 > CM-FL-L1 (Lift) |  | 2021-10-06 14:33:02 | 2021-10-06 14:35:51 | 2021-10-06 16:33:35 | 2021-10-06 16:34:05 | 2021-10-06 16:34:58 | 2021-10-06 16:36:34
| FID2948 | Plumbing & Sanitary | Tap | Other: Tap and urinal not working | Affecting Public | Gardens By The Bay (South) > Flower Dome > Level 1 > Male Toilet (CD Exit) |  | 2021-10-06 13:29:18 | 2021-10-06 13:31:01 | 2021-10-06 16:34:27 | 2021-10-06 16:36:26 | 2021-10-06 16:36:48 | 2021-10-06 16:41:34
| FID2947 | Electrical | Light Bulb | Flickering / Blown | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-05 18:25:01 | 2021-10-05 18:25:23 | 2021-10-05 22:39:34 | 2021-10-05 22:40:55 | 2021-10-05 22:41:18 | 2021-10-05 22:42:59
| FID2945 | Electrical | Light Bulb | Flickering / Blown | Affecting Public | Gardens By The Bay (South) > Flower Dome > Basement > Staircase CD1 |  | 2021-10-05 13:16:52 | 2021-10-05 13:17:45 | 2021-10-05 13:31:11 | 2021-10-05 13:31:58 | 2021-10-05 13:32:21 | 2021-10-05 22:38:37
| FID2942 | Building | Vehicle Barrier System | Unable to open or close properly | Affecting Public | Gardens By The Bay (South) > GBHQ |  | 2021-10-05 09:49:19 | 2021-10-05 13:26:37 | 2021-10-05 13:27:17 | 2021-10-05 13:28:27 | 2021-10-05 13:29:35 | 2021-10-05 13:30:36
| FID2930 | Plumbing & Sanitary | Hand Dryer | Other: Tissue dispenser unable to lock at ED female toilet | Affecting Public | Gardens By The Bay (South) > BMS Room |  | 2021-10-04 13:54:00 | 2021-10-04 13:54:19 | 2021-10-04 15:00:28 | 2021-10-04 15:00:58 | 2021-10-04 15:01:36 | 2021-10-04 15:07:21
| FID2921 | Electrical | Socket | Other: Buggy charging plug is burning | Affecting Public | Gardens By The Bay (South) > Service Tunnel |  | 2021-10-03 16:10:14 | 2021-10-03 17:52:11 | 2021-10-04 00:30:11 | 2021-10-04 00:31:28 | 2021-10-04 00:31:50 | 2021-10-04 00:33:43
| FID2920 | Electrical | Light Bulb | Flickering / Blown | Affecting Public | Gardens By The Bay (South) > Service Tunnel |  | 2021-10-03 16:07:45 | 2021-10-03 17:17:52 | 2021-10-03 17:18:48 | 2021-10-03 17:19:08 | 2021-10-03 17:20:52 | 2021-10-03 17:21:52
| FID2919 | Electrical | Socket | Other: Entry barrier can't bring down | Affecting Public | Gardens By The Bay (South) > Satay by the Garden |  | 2021-10-03 15:51:24 | 2021-10-03 17:36:47 | 2021-10-03 17:37:20 | 2021-10-03 17:37:46 | 2021-10-03 17:39:13 | 2021-10-03 17:40:22
| FID2918 | Plumbing & Sanitary | WC / Squatting Pedestal | Water flowing non-stop | Affecting Public | Gardens By The Bay (South) > Bayfront |  | 2021-10-03 11:43:50 | 2021-10-03 17:14:14 | 2021-10-03 17:14:35 | 2021-10-03 17:14:50 | 2021-10-03 17:14:57 | 2021-10-03 17:17:21 |  |  |  |  | 1
| FID2917 | Electrical | Light Bulb | Flickering / Blown | Affecting Public | Gardens By The Bay (South) > Flower Dome |  | 2021-10-03 11:32:59 | 2021-10-03 11:37:02 | 2021-10-03 11:37:29 | 2021-10-03 11:38:35 | 2021-10-03 11:39:08 | 2021-10-03 11:40:57 |  |  |  |  | 1
| FID2914 | Electrical | Miniature Circuit Breaker | Other: Power trip | Affecting Public | Gardens By The Bay (South) > Supertree Grove |  | 2021-10-01 09:28:16 | 2021-10-01 09:28:56 | 2021-10-01 20:26:37 | 2021-10-01 20:27:04 | 2021-10-01 20:29:01 | 2021-10-01 20:30:54